2035 | 12 | 29 | 22 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 29 | 23 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 29 | 24 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 1 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 2 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 3 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 4 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 5 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 6 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 7 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 8 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 9 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 10 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 11 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 12 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 13 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 14 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 15 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 16 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 17 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 18 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 19 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 20 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 21 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 22 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 23 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 30 | 24 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 1 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 2 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 3 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 4 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 5 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 6 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 7 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 8 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 9 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 10 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 11 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 12 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 13 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 14 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 15 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 16 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 17 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 18 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 19 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 20 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 21 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 22 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 23 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0
2035 | 12 | 31 | 24 | 0.25614 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25614 | 0

## Definitions
Terminology
Installed Capacity: The maximum continuous electrical output that a resource is capable of injecting onto the grid in a given year
Existing Supply: Resources that are currently in commercial operation, producing electricity, and receiving payments for electricity production
Committed Supply: Resources that have been acquired, either through a contract or auction, but is not yet in service (e.g., under construction)
Directed Supply: Resources that are part of a procurement program or government directive, but have not been acquired yet
Expired Contracts: Capacity that was once under an IESO or OEFC contract, but the contract has reached commercial term
Summer Peak: Months of June, July, and August
Capacity Contribution: Median output of resources during seasonal peak demand hours

## Installed MW by Commitment
Year End Installed Capacity by Commitment Type (MW)
Commitment | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Supply | 39190.8141 | 38684.7541 | 38284.2041 | 36535.3241 | 35652.5241 | 35516.0241 | 30632.8991 | 29847.2491 | 26982.5491 | 25130.1991 | 25015.6411 | 22666.5761 | 18836.4027 | 16439.0223 | 15321.1757 | 14534.4002 | 13496.5461 | 11138.4221 | 9955.614
Refurbished Nuclear | 0 | 0 | 0 | 881 | 881 | 881 | 1762 | 3465 | 3465 | 5127 | 5127 | 5900 | 6722 | 6722 | 7544 | 7544 | 8366 | 8366 | 8366
Committed, Not Yet In-Service | 924.9629 | 2344.7131 | 2586.1554 | 2923.3684 | 2924.3184 | 2959.6194 | 2959.6194 | 2974.6023 | 2974.6023 | 2974.6023 | 2974.6023 | 2957.8523 | 2949.9523 | 2945.8253 | 2945.1303 | 2945.1303 | 2936.9703 | 2936.9703 | 2851.5703
Directed Procurements | 50 | 372.76 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91
Expired Contracts | 172 | 174.5 | 383.9 | 429.78 | 429.78 | 566.28 | 2714.605 | 3500.255 | 3527.955 | 4558.305 | 4671.263 | 6215.078 | 10052.9485 | 11631.6856 | 12750.2092 | 13536.9748 | 14581.989 | 16941.103 | 18177.2896
Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40479.5325 | 40514.8335 | 38661.0335 | 40379.0164 | 37542.0164 | 38382.0164 | 38380.4164 | 38331.4164 | 39153.2134 | 38330.4432 | 39152.4253 | 39152.4154 | 39973.4154 | 39974.4054 | 39942.384

## Installed MW by Fuel
Year End Installed Capacity by Fuel Type (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12133 | 12133 | 12133 | 11311 | 10430 | 10430 | 8619 | 10322 | 7485 | 8325 | 8325 | 8276 | 9098 | 8276 | 9098 | 9098 | 9920 | 9920 | 9920
Gas | 10221.006 | 10940.206 | 10818.206 | 10899.482 | 10899.482 | 10899.482 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682
Hydroelectric | 8862.876 | 8913.97 | 8959.245 | 8960.607 | 8961.557 | 8996.858 | 8996.858 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409
Biomass | 595.8453 | 596.6953 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 566.4803
Solar | 2484.8275 | 2635.8836 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2977.9379 | 2977.1694 | 2977.1515 | 2977.1416 | 2976.1416 | 2977.1316 | 2977.1102
Wind | 5159.4723 | 5459.4723 | 5461.5973 | 5716.1723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5712.7723 | 5712.7723 | 5712.7723 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705
Demand Response | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11
Storage | 33.64 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39
Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40479.5325 | 40514.8335 | 38661.0335 | 40379.0164 | 37542.0164 | 38382.0164 | 38380.4164 | 38331.4164 | 39153.2134 | 38330.4432 | 39152.4253 | 39152.4154 | 39973.4154 | 39974.4054 | 39942.384

## 2. Commitment (work) (hidden)
Year End Installed Capacity by Commitment Type (MW)
Commitment | Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Fuel | (Multiple Items)
Existing | Biomass | 560.022 | 560.022 | 407.022 | 369.022 | 369.022 | 364.022 | 316.022 | 111.022 | 108.522 | 106.922 | 82.623 | 78.744 | 78.644 | 58.972 | 43.608 | 34.718 | 26.427 | 4.13 | 3.13
Existing | Demand Management | 847.11 | 524.35 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Existing | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Committed | 924.9629 | 2344.7131 | 2586.1554 | 3804.3684 | 3805.3184 | 3840.6194 | 4721.6194 | 6439.6023 | 6439.6023 | 8101.6023 | 8101.6023 | 8857.8523 | 9671.9523 | 9667.8253 | 10489.1303 | 10489.1303 | 11302.9703 | 11302.9703 | 11217.5703
Existing | Gas | 9734.897 | 9554.097 | 9375.697 | 9375.697 | 9375.697 | 9244.697 | 7101.572 | 6520.922 | 6509.222 | 5875.572 | 5875.572 | 4691.766 | 2269.666 | 1225.666 | 906.666 | 468.666 | 466.066 | 383.016 | 163.1 | Directed | 50 | 372.76 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91
Existing | MSW | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 13.9 | 13.9 | 13.9 | 13.9 | 13.9 | 0 | Existing | 39190.8141 | 38684.7541 | 38284.2041 | 36535.3241 | 35652.5241 | 35516.0241 | 30632.8991 | 29847.2491 | 26982.5491 | 25130.1991 | 25015.6411 | 22666.5761 | 18836.4027 | 16439.0223 | 15321.1757 | 14534.4002 | 13496.5461 | 11138.4221 | 9955.614
Existing | Nuclear | 12133 | 12133 | 12133 | 10430 | 9549 | 9549 | 6857 | 6857 | 4020 | 3198 | 3198 | 2376 | 2376 | 1554 | 1554 | 1554 | 1554 | 1554 | 1554 | Options | 172 | 174.5 | 383.9 | 429.78 | 429.78 | 566.28 | 2714.605 | 3500.255 | 3527.955 | 4558.305 | 4671.263 | 6215.078 | 10052.9485 | 11631.6856 | 12750.2092 | 13536.9748 | 14581.989 | 16941.103 | 18177.2896
Existing | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grand Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40479.5325 | 40514.8335 | 38661.0335 | 40379.0164 | 37542.0164 | 38382.0164 | 38380.4164 | 38331.4164 | 39153.2134 | 38330.4432 | 39152.4253 | 39152.4154 | 39973.4154 | 39974.4054 | 39942.384
Existing | Solar | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2269.8543 | 2250.5809 | 2085.3653 | 1851.6107 | 1618.4602 | 1058.7351 | 392.9881 | 140.644
Existing | Storage | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | With Unspecified
Existing | Water | 8785.746 | 8783.246 | 8783.246 | 8775.366 | 8775.366 | 8774.866 | 8774.866 | 8774.866 | 8761.366 | 8761.366 | 8755.217 | 8726.267 | 7744.767 | 7652.289 | 7644.671 | 7621.736 | 7612.998 | 7611.348 | 7605.9 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Existing | Wind | 4787.7798 | 4787.7798 | 4787.7798 | 4787.7798 | 4785.9798 | 4785.9798 | 4785.9798 | 4785.9798 | 4785.9798 | 4390.8798 | 4306.7698 | 4006.5048 | 3599.3048 | 3359.99 | 2817.88 | 2734.08 | 2275.58 | 690.2 | 0 | Committed | 924.9629 | 2344.7131 | 2586.1554 | 3804.3684 | 3805.3184 | 3840.6194 | 4721.6194 | 6439.6023 | 6439.6023 | 8101.6023 | 8101.6023 | 8857.8523 | 9671.9523 | 9667.8253 | 10489.1303 | 10489.1303 | 11302.9703 | 11302.9703 | 11217.5703
Committed | Biomass | 3.8233 | 4.6733 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | Directed | 50 | 372.76 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91
Committed | Demand Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Existing | 39190.8141 | 38684.7541 | 38284.2041 | 36535.3241 | 35652.5241 | 35516.0241 | 30632.8991 | 29847.2491 | 26982.5491 | 25130.1991 | 25015.6411 | 22666.5761 | 18836.4027 | 16439.0223 | 15321.1757 | 14534.4002 | 13496.5461 | 11138.4221 | 9955.614
Committed | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Options | 172 | 174.5 | 383.9 | 429.78 | 538.3473 | 772.8473 | 4011.6723 | 3500.255 | 6262.5223 | 6617.8723 | 6730.8303 | 8482.6453 | 11608.2658 | 14049.5029 | 14718.0266 | 15467.2922 | 16249.8063 | 17590.9203 | 19107.3299
Committed | Gas | 317.509 | 1217.509 | 1217.509 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | Grand Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40588.0998 | 40721.4008 | 39958.1008 | 40379.0164 | 40276.5838 | 40441.5838 | 40439.9838 | 40598.9838 | 40708.5308 | 40748.2605 | 41120.2426 | 41082.7327 | 41641.2327 | 40624.2227 | 40872.4242
Committed | MSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Committed | Nuclear | 0 | 0 | 0 | 881 | 881 | 881 | 1762 | 3465 | 3465 | 5127 | 5127 | 5900 | 6722 | 6722 | 7544 | 7544 | 8366 | 8366 | 8366 | Without Unspecified
Committed | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Committed | Solar | 154.8081 | 305.8643 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 497.6966 | Committed | 924.9629 | 2344.7131 | 2586.1554 | 3804.3684 | 3805.3184 | 3840.6194 | 4721.6194 | 6439.6023 | 6439.6023 | 8101.6023 | 8101.6023 | 8857.8523 | 9671.9523 | 9667.8253 | 10489.1303 | 10489.1303 | 11302.9703 | 11302.9703 | 11217.5703
Committed | Storage | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Directed | 50 | 372.76 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91
Committed | Water | 77.13 | 128.224 | 173.499 | 174.861 | 175.811 | 211.112 | 211.112 | 226.0949 | 226.0949 | 226.0949 | 226.0949 | 226.0949 | 218.1949 | 214.0679 | 213.3729 | 213.3729 | 213.2129 | 213.2129 | 206.6379 | Existing | 39190.8141 | 38684.7541 | 38284.2041 | 36535.3241 | 35652.5241 | 35516.0241 | 30632.8991 | 29847.2491 | 26982.5491 | 25130.1991 | 25015.6411 | 22666.5761 | 18836.4027 | 16439.0223 | 15321.1757 | 14534.4002 | 13496.5461 | 11138.4221 | 9955.614
Committed | Wind | 371.6925 | 671.6925 | 673.8175 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 920.3925 | 920.3925 | 841.9925 | Options | 172 | 174.5 | 383.9 | 429.78 | 429.78 | 566.28 | 2714.605 | 3500.255 | 3527.955 | 4558.305 | 4671.263 | 6215.078 | 10052.9485 | 11631.6856 | 12750.2092 | 13536.9748 | 14581.989 | 16941.103 | 18177.2896
Directed | Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grand Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40479.5325 | 40514.8335 | 38661.0335 | 40379.0164 | 37542.0164 | 38382.0164 | 38380.4164 | 38331.4164 | 39153.2134 | 38330.4432 | 39152.4253 | 39152.4154 | 39973.4154 | 39974.4054 | 39942.384
Directed | Demand Management | 0 | 322.76 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91
Directed | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Delta
Directed | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Directed | MSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Committed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Directed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Existing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Solar | 50 | 50 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | Options | 0 | 0 | 0 | 0 | 108.5673 | 206.5673 | 1297.0673 | 0 | 2734.5673 | 2059.5673 | 2059.5673 | 2267.5673 | 1555.3173 | 2417.8173 | 1967.8173 | 1930.3173 | 1667.8173 | 649.8173 | 930.0402
Directed | Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grand Total | 0 | 0 | 0 | 0 | 108.5673 | 206.5673 | 1297.0673 | 0 | 2734.5673 | 2059.5673 | 2059.5673 | 2267.5673 | 1555.3173 | 2417.8173 | 1967.8173 | 1930.3173 | 1667.8173 | 649.8173 | 930.0402
Directed | Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Options | Biomass | 32 | 32 | 185 | 223 | 223 | 228 | 276 | 481 | 483.5 | 485.1 | 509.399 | 513.278 | 513.378 | 533.05 | 548.414 | 557.304 | 565.595 | 587.892 | 556.892
Options | Demand Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Options | Unspecified | 0 | 0 | 0 | 0 | 108.5673 | 206.5673 | 1297.0673 | 0 | 2734.5673 | 2059.5673 | 2059.5673 | 2267.5673 | 1555.3173 | 2417.8173 | 1967.8173 | 1930.3173 | 1667.8173 | 649.8173 | 930.0402
Options | Gas | 140 | 140 | 196.4 | 196.4 | 196.4 | 327.4 | 2427.725 | 3008.375 | 3020.075 | 3653.725 | 3653.725 | 4837.531 | 7259.631 | 8303.631 | 8622.631 | 9060.631 | 9063.231 | 9146.281 | 9366.197
Options | MSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 28.6
Options | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Options | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Options | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.165 | 29.2355 | 193.6826 | 427.4192 | 660.5598 | 1219.285 | 1886.022 | 2138.7696
Options | Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75
Options | Water | 0 | 2.5 | 2.5 | 10.38 | 10.38 | 10.88 | 10.88 | 10.88 | 24.38 | 24.38 | 30.529 | 59.479 | 1048.879 | 1145.484 | 1153.797 | 1176.732 | 1185.63 | 1187.28 | 1199.303
Options | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395.1 | 477.61 | 777.875 | 1185.075 | 1424.388 | 1966.498 | 2050.298 | 2516.798 | 4102.178 | 4870.778

## Installed MW of Existing
Year End Installed Capacity of Existing Supply (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12133 | 12133 | 12133 | 10430 | 9549 | 9549 | 6857 | 6857 | 4020 | 3198 | 3198 | 2376 | 2376 | 1554 | 1554 | 1554 | 1554 | 1554 | 1554
Gas | 9763.497 | 9582.697 | 9404.297 | 9404.297 | 9404.297 | 9273.297 | 7130.172 | 6549.522 | 6537.822 | 5904.172 | 5904.172 | 4720.366 | 2298.266 | 1239.566 | 920.566 | 482.566 | 479.966 | 396.916 | 163.1
Hydroelectric | 8785.746 | 8783.246 | 8783.246 | 8775.366 | 8775.366 | 8774.866 | 8774.866 | 8774.866 | 8761.366 | 8761.366 | 8755.217 | 8726.267 | 7744.767 | 7652.289 | 7644.671 | 7621.736 | 7612.998 | 7611.348 | 7605.9
Biomass | 560.022 | 560.022 | 407.022 | 369.022 | 369.022 | 364.022 | 316.022 | 111.022 | 108.522 | 106.922 | 82.623 | 78.744 | 78.644 | 58.972 | 43.608 | 34.718 | 26.427 | 4.13 | 3.13
Solar | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2269.8543 | 2250.5809 | 2085.3653 | 1851.6107 | 1618.4602 | 1058.7351 | 392.9881 | 140.644
Wind | 4787.7798 | 4787.7798 | 4787.7798 | 4787.7798 | 4785.9798 | 4785.9798 | 4785.9798 | 4785.9798 | 4785.9798 | 4390.8798 | 4306.7698 | 4006.5048 | 3599.3048 | 3359.99 | 2817.88 | 2734.08 | 2275.58 | 690.2 | 0
Demand Response | 847.11 | 524.35 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2
Storage | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64
Total | 39190.8141 | 38684.7541 | 38284.2041 | 36535.3241 | 35652.5241 | 35516.0241 | 30632.8991 | 29847.2491 | 26982.5491 | 25130.1991 | 25015.6411 | 22666.5761 | 18836.4027 | 16439.0223 | 15321.1757 | 14534.4002 | 13496.5461 | 11138.4221 | 9955.614

## Installed MW of Committed
Year End Installed Capacity of Committed Supply (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 0 | 0 | 0 | 881 | 881 | 881 | 1762 | 3465 | 3465 | 5127 | 5127 | 5900 | 6722 | 6722 | 7544 | 7544 | 8366 | 8366 | 8366
Gas | 317.509 | 1217.509 | 1217.509 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785
Hydroelectric | 77.13 | 128.224 | 173.499 | 174.861 | 175.811 | 211.112 | 211.112 | 226.0949 | 226.0949 | 226.0949 | 226.0949 | 226.0949 | 218.1949 | 214.0679 | 213.3729 | 213.3729 | 213.2129 | 213.2129 | 206.6379
Biomass | 3.8233 | 4.6733 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583
Solar | 154.8081 | 305.8643 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 497.6966
Wind | 371.6925 | 671.6925 | 673.8175 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 920.3925 | 920.3925 | 841.9925
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 924.9629 | 2344.7131 | 2586.1554 | 3804.3684 | 3805.3184 | 3840.6194 | 4721.6194 | 6439.6023 | 6439.6023 | 8101.6023 | 8101.6023 | 8857.8523 | 9671.9523 | 9667.8253 | 10489.1303 | 10489.1303 | 11302.9703 | 11302.9703 | 11217.5703

## Installed MW of Directed
Year End Installed Capacity of Directed Supply (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 50 | 50 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 322.76 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91
Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 50 | 372.76 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91 | 591.91

## Installed MW of Expired
Year End Installed Capacity of Expired Contracts (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas | 140 | 140 | 196.4 | 196.4 | 196.4 | 327.4 | 2427.725 | 3008.375 | 3020.075 | 3653.725 | 3653.725 | 4837.531 | 7259.631 | 8318.331 | 8637.331 | 9075.331 | 9077.931 | 9160.981 | 9394.797
Hydroelectric | 0 | 2.5 | 2.5 | 10.38 | 10.38 | 10.88 | 10.88 | 10.88 | 24.38 | 24.38 | 30.529 | 59.479 | 1048.879 | 1145.484 | 1153.797 | 1176.732 | 1185.63 | 1187.28 | 1199.303
Biomass | 32 | 32 | 185 | 223 | 223 | 228 | 276 | 481 | 483.5 | 485.1 | 509.399 | 513.278 | 513.378 | 533.05 | 548.414 | 557.304 | 565.595 | 587.892 | 556.892
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.165 | 29.2355 | 193.6826 | 427.4192 | 660.5598 | 1219.285 | 1886.022 | 2138.7696
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395.1 | 477.61 | 777.875 | 1185.075 | 1424.388 | 1966.498 | 2050.298 | 2516.798 | 4102.178 | 4870.778
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75
Total | 172 | 174.5 | 383.9 | 429.78 | 429.78 | 566.28 | 2714.605 | 3500.255 | 3527.955 | 4558.305 | 4671.263 | 6215.078 | 10052.9485 | 11631.6856 | 12750.2092 | 13536.9748 | 14581.989 | 16941.103 | 18177.2896

## MW at Summer by Committment
Capacity Contribution of Resources at Summer Peak, by Commitment Type (MW)
Commitment | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Supply | 29059.4815 | 28994.1108 | 28783.5099 | 26892.9687 | 26012.2244 | 25927.3555 | 21082.0905 | 20868.1155 | 17499.5995 | 16127.2903 | 16079.2632 | 15233.9981 | 12172.7081 | 10239.0595 | 9369.2598 | 8681.1759 | 8493.2939 | 8091.4986 | 7693.9583
Refurbished Nuclear | 0 | 0 | 0 | 878.0046 | 878.0046 | 878.0046 | 1756.0092 | 2574.7211 | 3452.7257 | 5084.3953 | 5084.3953 | 5851.2113 | 6669.9233 | 6669.9233 | 7487.8133 | 7487.8133 | 8306.5253 | 8306.5253 | 8306.5253
Committed, Not Yet In-Service | 101.4033 | 610.5117 | 1421.4387 | 1579.5622 | 1580.3049 | 1605.2372 | 2105.2733 | 1614.592 | 1615.8707 | 1615.8707 | 1615.8707 | 1599.1207 | 1596.2915 | 1590.614 | 1590.1225 | 1590.1225 | 1590.1225 | 1589.4973 | 1584.3258
Directed Procurements | 17.3795 | 217.5605 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013
Expired Contracts | 142.9 | 142.9 | 194.3682 | 388.1974 | 390.9418 | 475.6954 | 2620.6954 | 3360.6704 | 3374.8704 | 3925.9677 | 3973.7932 | 4017.9183 | 7082.0375 | 8241.3616 | 9160.7363 | 9766.8725 | 9991.8408 | 10406.7569 | 10784.0817
Total Resources Available at Summer Peak | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041

## 5. Summer Peak (work) (hidden)
Capacity Contribution of resources at summer peak, by commitment type, with resource requirement (MW)
Commitment | Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Fuel | (Multiple Items)
Existing | Biomass | 560.022 | 560.022 | 560.022 | 369.022 | 369.022 | 369.022 | 324.022 | 111.022 | 111.022 | 106.922 | 86.886 | 81.944 | 78.644 | 71.219 | 57.232 | 36.963 | 26.677 | 4.13 | 3.13
Existing | Demand Management | 808.3126 | 614.3351 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | 455.2 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Existing | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Committed | 101.4033 | 610.5117 | 1421.4387 | 2457.5668 | 2458.3095 | 2483.2418 | 3861.2824 | 4189.3131 | 5068.5965 | 6700.266 | 6700.266 | 7450.332 | 8266.2148 | 8260.5373 | 9077.9357 | 9077.9357 | 9896.6477 | 9896.0226 | 9890.8511
Existing | Gas | 8095.1986 | 8206.0954 | 8156.3978 | 8156.3978 | 8156.3978 | 8071.9978 | 5933.3978 | 5932.4228 | 5394.7228 | 4880.3728 | 4880.3728 | 4872.8668 | 1911.1668 | 1597.1668 | 893.4668 | 403.1668 | 403.1668 | 328.2168 | 184.1168 | Directed | 17.3795 | 217.5605 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013
Existing | MSW | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 28.6 | 13.9 | 13.9 | 13.9 | 13.9 | 13.9 | 13.9 | Existing | 29059.4815 | 28994.1108 | 28783.5099 | 26892.9687 | 26012.2244 | 25927.3555 | 21082.0905 | 20868.1155 | 17499.5995 | 16127.2903 | 16079.2632 | 15233.9981 | 12172.7081 | 10239.0595 | 9369.2598 | 8681.1759 | 8493.2939 | 8091.4986 | 7693.9583
Existing | Nuclear | 12060.967 | 12060.967 | 12060.967 | 10364.255 | 9486.255 | 9486.255 | 6824.59 | 6824.59 | 3993.774 | 3175.062 | 3175.062 | 2357.172 | 2357.172 | 1538.46 | 1538.46 | 1538.46 | 1538.46 | 1538.46 | 1538.46 | Options | 142.9 | 142.9 | 194.3682 | 388.1974 | 390.9418 | 475.6954 | 2620.6954 | 3360.6704 | 3374.8704 | 3925.9677 | 3973.7932 | 4017.9183 | 7082.0375 | 8241.3616 | 9160.7363 | 9766.8725 | 9991.8408 | 10406.7569 | 10784.0817
Existing | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grand Total | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041
Existing | Solar | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5543 | 747.5018 | 742.2392 | 721.7777 | 633.4364 | 521.1127 | 379.9896 | 178.4372 | 87.4828
Existing | Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | without recontracting | 29178.2643 | 29822.183 | 30663.9616 | 29809.5485 | 28929.5468 | 28869.6103 | 25402.386 | 25516.4416 | 23027.209 | 23286.5693 | 23238.5422 | 23143.3431 | 20897.9358 | 18958.6098 | 18906.2086 | 18218.1246 | 18848.9546 | 18446.5342 | 18043.8224
Existing | Water | 6216.4852 | 6216.4852 | 6214.717 | 6211.8878 | 6209.1434 | 6208.7898 | 6208.7898 | 6208.7898 | 6208.7898 | 6199.2412 | 6195.9877 | 6194.892 | 6169.7475 | 5422.7765 | 5412.7979 | 5393.3578 | 5388.2454 | 5385.8335 | 5382.5177 | check from (surplus summary) | 29178.2643 | 29822.183 | 30663.9616 | 29809.5485 | 28929.5468 | 28869.6103 | 25402.386 | 25516.4416 | 23027.209 | 23286.5693 | 23238.5422 | 23143.3431 | 20897.9358 | 18958.6098 | 18906.2086 | 18218.1246 | 18848.9546 | 18446.5342 | 18043.8224
Existing | Wind | 542.3418 | 560.0518 | 560.0518 | 560.0518 | 560.0518 | 559.9366 | 559.9366 | 559.9366 | 559.9366 | 534.3379 | 509.6004 | 495.8214 | 429.9384 | 418.5595 | 364.7668 | 319.0156 | 287.6551 | 187.3211 | 29.151
Committed | Biomass | 2.1233 | 4.6733 | 4.6733 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | 6.419 | With filler
Committed | Demand Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Committed | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Committed | 101.4033 | 610.5117 | 1421.4387 | 2457.5668 | 2458.3095 | 2483.2418 | 3861.2824 | 4189.3131 | 5068.5965 | 6700.266 | 6700.266 | 7450.332 | 8266.2148 | 8260.5373 | 9077.9357 | 9077.9357 | 9896.6477 | 9896.0226 | 9890.8511
Committed | Gas | 0 | 310.9899 | 1082.59 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | 1163.866 | Directed | 17.3795 | 217.5605 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013
Committed | MSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Existing | 29059.4815 | 28994.1108 | 28783.5099 | 26892.9687 | 26012.2244 | 25927.3555 | 21082.0905 | 20868.1155 | 17499.5995 | 16127.2903 | 16079.2632 | 15233.9981 | 12172.7081 | 10239.0595 | 9369.2598 | 8681.1759 | 8493.2939 | 8091.4986 | 7693.9583
Committed | Nuclear | 0 | 0 | 0 | 878.0046 | 878.0046 | 878.0046 | 1756.0092 | 2574.7211 | 3452.7257 | 5084.3953 | 5084.3953 | 5851.2113 | 6669.9233 | 6669.9233 | 7487.8133 | 7487.8133 | 8306.5253 | 8306.5253 | 8306.5253 | Options | 142.9 | 142.9 | 194.3682 | 388.1974 | 499.5091 | 682.2627 | 3917.7627 | 3360.6704 | 6109.4378 | 5985.535 | 6033.3605 | 6285.4856 | 8637.3548 | 10659.1789 | 11128.5536 | 11697.1898 | 11659.6581 | 11056.5742 | 11714.1219
Committed | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grand Total | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29429.0559 | 29551.873 | 29320.1487 | 28877.112 | 29136.6467 | 29272.1043 | 29271.9027 | 29428.8287 | 29535.2906 | 29617.7887 | 30034.7622 | 29915.3144 | 30508.6128 | 29503.1084 | 29757.9443
Committed | Solar | 46.0393 | 112.6854 | 147.5019 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.7657 | 167.6157
Committed | Storage | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Without filler
Committed | Water | 16.2538 | 90.6207 | 95.1311 | 123.6085 | 124.3511 | 149.2834 | 149.3195 | 158.6382 | 159.917 | 159.917 | 159.917 | 159.917 | 157.0878 | 151.4103 | 150.9187 | 150.9187 | 150.9187 | 150.8055 | 150.3281 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Committed | Wind | 36.987 | 74.7924 | 74.7924 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 101.153 | 100.641 | 96.097 | Committed | 101.4033 | 610.5117 | 1421.4387 | 2457.5668 | 2458.3095 | 2483.2418 | 3861.2824 | 4189.3131 | 5068.5965 | 6700.266 | 6700.266 | 7450.332 | 8266.2148 | 8260.5373 | 9077.9357 | 9077.9357 | 9896.6477 | 9896.0226 | 9890.8511
Directed | Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Directed | 17.3795 | 217.5605 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013 | 459.013
Directed | Demand Management | 0 | 200.181 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | 391.91 | Existing | 29059.4815 | 28994.1108 | 28783.5099 | 26892.9687 | 26012.2244 | 25927.3555 | 21082.0905 | 20868.1155 | 17499.5995 | 16127.2903 | 16079.2632 | 15233.9981 | 12172.7081 | 10239.0595 | 9369.2598 | 8681.1759 | 8493.2939 | 8091.4986 | 7693.9583
Directed | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Options | 142.9 | 142.9 | 194.3682 | 388.1974 | 390.9418 | 475.6954 | 2620.6954 | 3360.6704 | 3374.8704 | 3925.9677 | 3973.7932 | 4017.9183 | 7082.0375 | 8241.3616 | 9160.7363 | 9766.8725 | 9991.8408 | 10406.7569 | 10784.0817
Directed | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Grand Total | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041
Directed | MSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Without filler
Directed | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Row Labels | Sum of 2017 | Sum of 2018 | Sum of 2019 | Sum of 2020 | Sum of 2021 | Sum of 2022 | Sum of 2023 | Sum of 2024 | Sum of 2025 | Sum of 2026 | Sum of 2027 | Sum of 2028 | Sum of 2029 | Sum of 2030 | Sum of 2031 | Sum of 2032 | Sum of 2033 | Sum of 2034 | Sum of 2035
Directed | Solar | 17.3795 | 17.3795 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | Committed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Directed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Existing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Directed | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Options | 0 | 0 | 0 | 0 | 108.5673 | 206.5673 | 1297.0673 | 0 | 2734.5673 | 2059.5673 | 2059.5673 | 2267.5673 | 1555.3173 | 2417.8173 | 1967.8173 | 1930.3173 | 1667.8173 | 649.8173 | 930.0402
Options | Biomass | 32 | 32 | 32 | 223 | 223 | 223 | 268 | 481 | 483.5 | 485.1 | 505.136 | 510.078 | 513.378 | 532.301 | 547.79 | 556.056 | 565.345 | 587.892 | 588.892 | Grand Total | 0 | 0 | 0 | 0 | 108.5673 | 206.5673 | 1297.0673 | 0 | 2734.5673 | 2059.5673 | 2059.5673 | 2267.5673 | 1555.3173 | 2417.8173 | 1967.8173 | 1930.3173 | 1667.8173 | 649.8173 | 930.0402
Options | Demand Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Options | Unspecified | 0 | 0 | 0 | 0 | 108.5673 | 206.5673 | 1297.0673 | 0 | 2734.5673 | 2059.5673 | 2059.5673 | 2267.5673 | 1555.3173 | 2417.8173 | 1967.8173 | 1930.3173 | 1667.8173 | 649.8173 | 930.0402
Options | Gas | 110.9 | 110.9 | 160.6 | 160.6 | 160.6 | 245 | 2345 | 2871.975 | 2883.675 | 3398.025 | 3398.025 | 3405.531 | 6367.231 | 6681.231 | 7439.231 | 7875.231 | 7875.231 | 7950.181 | 8119.181
Options | MSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7
Options | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Options | Quebec Intertie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Options | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0525 | 5.3151 | 52.9185 | 133.3389 | 231.1141 | 393.7767 | 583.7976 | 662.1343
Options | Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75
Options | Water | 0 | 0 | 1.7683 | 4.5975 | 7.3418 | 7.6954 | 7.6954 | 7.6954 | 7.6954 | 17.244 | 20.4976 | 21.5932 | 49.5669 | 802.2862 | 813.9587 | 832.3026 | 838.1717 | 839.7632 | 844.094
Options | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.5987 | 50.1346 | 63.9136 | 129.7966 | 141.175 | 194.9677 | 240.7189 | 287.8664 | 413.6731 | 538.3304
Total |  | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29429.0559 | 29551.873 | 29320.1487 | 28877.112 | 29136.6467 | 29272.1043 | 29271.9027 | 29428.8287 | 29535.2906 | 29617.7887 | 30034.7622 | 29915.3144 | 30508.6128 | 29503.1084 | 29757.9443
Risk-Adjusted Reserve Requirement |  | 4290.016 | 5130.947 | 4922.9695 | 5609.0755 | 5538.9834 | 5665.3103 | 5418.7779 | 4873.1664 | 5186.9889 | 5341.1341 | 5284.2306 | 5393.3678 | 5379.3356 | 5375.2243 | 5702.5706 | 5504.6959 | 5859.0715 | 4614.1245 | 4606.4268
Capacity Contribution
Source Link: | \\pafilesrv\PSP$\Resource Integration\Capacity\Tally\2017 LTEP\_FINAL Supply Outlooks\Final Reference Case\The Tally Summary - 30 TWh Case 20170814.xlsx
Spreadsheet: | The Tally Summary - 30 TWh Case 20170814.xlsx
Tab: | April 2017 Capacity Summary
Note: | Effective Capacity During Summer Peak + Pivot Table
Reserve Requirment
Source Link: | \\pafilesrv\PSP$\Resource Integration\Capacity\Tally\2017 LTEP\_FINAL Supply Outlooks\Final Reference Case\The Tally Summary - 30 TWh Case 20170814.xlsx
Spreadsheet: | The Tally Summary - 30 TWh Case 20170814.xlsx
Tab: | Apri 2017 Supply-Demand Summary
Note: | Effective Capacity During Summer Peak + Pivot Table

## MW at Summer by Fuel
Capacity Contribution of Resources at Summer Peak, by Fuel Type (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12060.967 | 12060.967 | 12060.967 | 11242.2596 | 10364.2596 | 10364.2596 | 8580.5991 | 9399.3111 | 7446.4997 | 8259.4573 | 8259.4573 | 8208.3833 | 9027.0953 | 8208.3833 | 9026.2733 | 9026.2733 | 9844.9853 | 9844.9853 | 9844.9853
Gas | 8234.6986 | 8656.5854 | 9428.1879 | 9509.4639 | 9509.4639 | 9509.4638 | 9470.8638 | 9996.8638 | 9470.8638 | 9470.8639 | 9470.8639 | 9470.8639 | 9470.8638 | 9470.8638 | 9525.1638 | 9470.8638 | 9470.8638 | 9470.8638 | 9495.7638
Hydroelectric | 6232.739 | 6307.1059 | 6311.6164 | 6340.0937 | 6340.8363 | 6365.7687 | 6365.8047 | 6375.1234 | 6376.4022 | 6376.4022 | 6376.4022 | 6376.4022 | 6376.4022 | 6376.4729 | 6377.6753 | 6376.579 | 6377.3358 | 6376.4022 | 6376.9397
Biomass | 594.1453 | 596.6953 | 596.6953 | 598.441 | 598.441 | 598.441 | 598.441 | 598.441 | 600.941 | 598.441 | 598.441 | 598.441 | 598.441 | 609.939 | 611.441 | 599.438 | 598.441 | 598.441 | 598.441
Solar | 810.973 | 877.6192 | 962.1592 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 1009.565 | 1001.644 | 987.0955 | 1008.6351 | 997.1036 | 984.3358
Wind | 579.3288 | 634.8442 | 634.8442 | 661.2048 | 661.2048 | 661.0896 | 661.0896 | 661.0896 | 661.0896 | 661.0896 | 660.888 | 660.888 | 660.888 | 660.8874 | 660.8874 | 660.8874 | 676.6744 | 701.6352 | 663.5784
Demand Response | 808.3126 | 814.5161 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11
Storage | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75
Firm Import 1 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Resources Available at Summer Peak | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041
Note:
1 Firm imports includes 500 MW of capacity in the summer from Quebec to Ontario in return for delivery of 500 MW to Quebec in the winter of 2015/2016 as part of the 2016 Amended and Restated Capacity Sharing Agreement.

## Total Capacity Reqt
Total Capacity Requirement
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Summer Peak Demand (MW) | 24082.5815 | 24040.8592 | 23992.9277 | 23916.2377 | 23890.0725 | 23886.5628 | 23901.3708 | 23887.513 | 23949.6579 | 23930.9702 | 23987.6721 | 24035.7109 | 24155.955 | 24242.5644 | 24332.1915 | 24410.6185 | 24649.5413 | 24889.2068 | 25151.8307
Reserve Margin | 17.81% | 21.34% | 20.52% | 23.45% | 23.19% | 23.72% | 22.67% | 20.4% | 21.66% | 22.32% | 22.03% | 22.44% | 22.27% | 22.17% | 23.44% | 22.55% | 23.77% | 18.54% | 18.31%
Reserve Requirement (MW) | 4290.016 | 5130.947 | 4922.9695 | 5609.0755 | 5538.9834 | 5665.3103 | 5418.7779 | 4873.1664 | 5186.9889 | 5341.1341 | 5284.2306 | 5393.3678 | 5379.3356 | 5375.2243 | 5702.5706 | 5504.6959 | 5859.0715 | 4614.1245 | 4606.4268
Total Capacity Requirement (MW) | 28372.5975 | 29171.8062 | 28915.8972 | 29525.3133 | 29429.0559 | 29551.873 | 29320.1487 | 28760.6794 | 29136.6467 | 29272.1043 | 29271.9027 | 29429.0787 | 29535.2906 | 29617.7887 | 30034.7622 | 29915.3144 | 30508.6128 | 29503.3313 | 29758.2574

## Capacity Above Below Reqt
Capacity Above or Below Requirement (MW)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Total Resoures Available at Summer Peak | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041
Total Capacity Requirement | 28372.5975 | 29171.8062 | 28915.8972 | 29525.3133 | 29429.0559 | 29551.873 | 29320.1487 | 28760.6794 | 29136.6467 | 29272.1043 | 29271.9027 | 29429.0787 | 29535.2906 | 29617.7887 | 30034.7622 | 29915.3144 | 30508.6128 | 29503.3313 | 29758.2574
Capacity Above or Below Requirement | 948.5668 | 793.2768 | 1942.4327 | 672.4327 | -108.5673 | -206.5673 | -1297.0673 | 116.4327 | -2734.5673 | -2059.5673 | -2059.5673 | -2267.8173 | -1555.3173 | -2417.8173 | -1967.8173 | -1930.3173 | -1667.8173 | -650.0402 | -930.3534

## Energy by Fuel
Energy Production by Fuel Type (TWh)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 86.3778 | 83.4892 | 86.1741 | 81.3551 | 75.4884 | 72.6869 | 62.888 | 74.0866 | 57.0446 | 59.9359 | 62.7736 | 66.8766 | 67.8404 | 69.8342 | 65.5023 | 72.4311 | 73.9533 | 75.1836 | 75.4078
Gas | 10.4164 | 10.894 | 11.3909 | 12.1009 | 13.7618 | 14.7877 | 19.5893 | 15.6921 | 20.9919 | 18.517 | 18.4191 | 16.8545 | 18.0934 | 17.8655 | 19.5861 | 18.2288 | 19.1611 | 20.6265 | 22.1158
Hydroelectric | 37.0303 | 37.2724 | 37.3097 | 37.5223 | 37.4192 | 37.4896 | 37.505 | 37.656 | 37.5663 | 37.5663 | 37.56 | 37.6514 | 37.5157 | 37.5278 | 37.5332 | 37.6414 | 37.5335 | 37.534 | 37.5329
Biomass | 1.4654 | 1.4662 | 1.493 | 1.5071 | 1.4831 | 1.4876 | 1.4847 | 1.4916 | 1.4956 | 1.4778 | 1.4907 | 1.4808 | 1.4938 | 1.4869 | 1.4959 | 1.4908 | 1.4926 | 1.4756 | 1.4713
Solar | 3.202 | 3.434 | 3.771 | 3.9506 | 3.9458 | 3.9458 | 3.9458 | 3.9506 | 3.9458 | 3.9458 | 3.9458 | 3.9506 | 3.9457 | 3.9455 | 3.9486 | 3.9545 | 3.9577 | 3.9875 | 3.9927
Wind | 13.4642 | 14.3557 | 14.486 | 15.0179 | 15.0948 | 15.0925 | 15.0925 | 15.169 | 15.0925 | 15.0949 | 15.0897 | 15.1668 | 15.0909 | 15.0518 | 15.0972 | 15.1667 | 15.0903 | 15.0444 | 15.1144
Storage (Generating) | 0.013182 | 0.036665 | 0.037904 | 0.035514 | 0.034461 | 0.034419 | 0.033831 | 0.034336 | 0.034611 | 0.03418 | 0.034135 | 0.03246 | 0.032664 | 0.033603 | 0.033581 | 0.033543 | 0.033155 | 0.032919 | 0.033576
Ontario Supply Production | 151.9692 | 150.9481 | 154.6625 | 151.4894 | 147.2275 | 145.5245 | 140.539 | 148.0803 | 136.1713 | 136.5718 | 139.3131 | 142.0132 | 144.0124 | 145.7454 | 143.1969 | 148.947 | 151.2216 | 153.8844 | 155.6684
Imports 1 | 9.2798 | 9.3276 | 7.6553 | 8.8998 | 9.5647 | 10.2016 | 11.0609 | 7.8347 | 13.5594 | 13.4886 | 11.2886 | 10.1988 | 9.16 | 8.2871 | 10.2283 | 7.8613 | 7.6328 | 7.1839 | 6.8605
Ontario Supply Production and Imports | 161.249 | 160.2758 | 162.3178 | 160.3893 | 156.7922 | 155.7261 | 151.5999 | 155.9149 | 149.7307 | 150.0604 | 150.6016 | 152.2121 | 153.1724 | 154.0325 | 153.4252 | 156.8083 | 158.8545 | 161.0684 | 162.5289
Exports 1 | 18.2292 | 17.4531 | 19.9087 | 18.0032 | 14.8775 | 13.8769 | 9.7809 | 13.7552 | 7.6228 | 8.0188 | 8.0602 | 8.7461 | 9.0159 | 8.9257 | 7.3818 | 9.4696 | 10.0526 | 10.3776 | 9.8238
Ontario Net Demand | 143.0198 | 142.8227 | 142.4091 | 142.3861 | 141.9147 | 141.8492 | 141.819 | 142.1598 | 142.1079 | 142.0416 | 142.5414 | 143.466 | 144.1565 | 145.1068 | 146.0434 | 147.3386 | 148.8019 | 150.6907 | 152.7051
Notes:
1 Imports and exports reflect those that take place due to economic opportunities that exist in the real time energy market and from Quebec per the 2016 Energy Sales and Energy Cycling Agreement.

## Storage
Energy Storage Phase I and II (TWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Storage (Generating) | 0.013181 | 0.036665 | 0.037903 | 0.035515 | 0.03446 | 0.03442 | 0.033829 | 0.034337 | 0.034612 | 0.03418 | 0.034135 | 0.032461 | 0.032668 | 0.033603 | 0.033582 | 0.033546 | 0.033157 | 0.032924 | 0.033578
Storage (Withdrawal) | 0.017721 | 0.04912 | 0.050767 | 0.047533 | 0.04626 | 0.04604 | 0.045251 | 0.045942 | 0.046112 | 0.04573 | 0.045815 | 0.043422 | 0.043647 | 0.044873 | 0.044678 | 0.045049 | 0.044247 | 0.043987 | 0.04479

## Energy Import Export
Energy Imports and Exports (TWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Exports | 18.2292 | 17.4531 | 19.9087 | 18.0032 | 14.8775 | 13.8769 | 9.7809 | 13.7552 | 7.6228 | 8.0188 | 8.0602 | 8.7461 | 9.0159 | 8.9257 | 7.3818 | 9.4696 | 10.0526 | 10.3776 | 9.8238
Imports | 9.2798 | 9.3276 | 7.6553 | 8.8998 | 9.5647 | 10.2016 | 11.0609 | 7.8347 | 13.5594 | 13.4886 | 11.2886 | 10.1988 | 9.16 | 8.2871 | 10.2283 | 7.8613 | 7.6328 | 7.1839 | 6.8605
Notes:
Imports and exports reflect those that take place due to economic opportunities that exist in the real time energy market and from Quebec per the 2016 Energy Sales and Energy Cycling Agreement.

## SBG
Surplus Baseload Generation (TWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Surplus Baseload Generation | 6.5273 | 5.2347 | 7.4393 | 6.2606 | 3.0087 | 2.0147 | 0.58484 | 2.9805 | 0.29527 | 0.58216 | 0.58591 | 0.92637 | 0.89664 | 0.75846 | 0.40316 | 0.71227 | 0.85686 | 1.0863 | 0.68406