## Definitions
Terminology
Installed Capacity: The maximum continuous electrical output that a resource is capable of injecting onto the grid in a given year
Existing Supply: Resources that are currently in commercial operation, producing electricity, and receiving payments for electricity production
Committed Supply: Resources that have been acquired, either through a contract or auction, but is not yet in service (e.g., under construction)
Directed Supply: Resources that are part of a procurement program or government directive, but have not been acquired yet
Expired Contracts: Capacity that was once under an IESO or OEFC contract, but the contract has reached commercial term
Summer Peak: Months of June, July, and August
Capacity Contribution: Median output of resources during seasonal peak demand hours

## Installed MW by Commitment
Year End Installed Capacity by Commitment Type (MW)
Commitment | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Supply | 39190.8141 | 38229.5541 | 37829.0041 | 36080.1241 | 35197.3241 | 35060.8241 | 30177.6991 | 29392.0491 | 26527.3491 | 24674.9991 | 24560.4411 | 22211.3761 | 18381.2027 | 15983.8223 | 14865.9757 | 14079.2002 | 13041.3461 | 10683.2221 | 9500.414
Refurbished Nuclear | 0 | 0 | 0 | 881 | 881 | 881 | 1762 | 3465 | 3465 | 5127 | 5127 | 5900 | 6722 | 6722 | 7544 | 7544 | 8366 | 8366 | 8366
Committed, Not Yet In-Service | 924.9629 | 2344.7131 | 2586.1554 | 2923.3684 | 2924.3184 | 2959.6194 | 2959.6194 | 2974.6023 | 2974.6023 | 2974.6023 | 2974.6023 | 2957.8523 | 2949.9523 | 2945.8253 | 2945.1303 | 2945.1303 | 2936.9703 | 2936.9703 | 2851.5703
Directed Procurements | 50 | 50 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Expired Contracts | 172 | 952.46 | 1231.01 | 1276.89 | 1276.89 | 1413.39 | 3561.715 | 4347.365 | 4375.065 | 5405.415 | 5518.373 | 7062.188 | 10900.0585 | 12478.7956 | 13597.3192 | 14384.0848 | 15429.099 | 17788.213 | 19024.3996
Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40479.5325 | 40514.8335 | 38661.0335 | 40379.0164 | 37542.0164 | 38382.0164 | 38380.4164 | 38331.4164 | 39153.2134 | 38330.4432 | 39152.4253 | 39152.4154 | 39973.4154 | 39974.4054 | 39942.384

## Installed MW by Fuel
Year End Installed Capacity by Fuel Type (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12133 | 12133 | 12133 | 11311 | 10430 | 10430 | 8619 | 10322 | 7485 | 8325 | 8325 | 8276 | 9098 | 8276 | 9098 | 9098 | 9920 | 9920 | 9920
Gas | 10221.006 | 10940.206 | 10818.206 | 10899.482 | 10899.482 | 10899.482 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682
Hydroelectric | 8862.876 | 8913.97 | 8959.245 | 8960.607 | 8961.557 | 8996.858 | 8996.858 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409
Biomass | 595.8453 | 596.6953 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 566.4803
Solar | 2484.8275 | 2635.8836 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2977.9379 | 2977.1694 | 2977.1515 | 2977.1416 | 2976.1416 | 2977.1316 | 2977.1102
Wind | 5159.4723 | 5459.4723 | 5461.5973 | 5716.1723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5712.7723 | 5712.7723 | 5712.7723 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705
Demand Response | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11
Storage | 33.64 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39
Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40479.5325 | 40514.8335 | 38661.0335 | 40379.0164 | 37542.0164 | 38382.0164 | 38380.4164 | 38331.4164 | 39153.2134 | 38330.4432 | 39152.4253 | 39152.4154 | 39973.4154 | 39974.4054 | 39942.384
Note:
Demand Response includes Peaksaver, CBDR, DR Pilot and DR Auction.

## Installed MW of Existing
Year End Installed Capacity of Existing Supply (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12133 | 12133 | 12133 | 10430 | 9549 | 9549 | 6857 | 6857 | 4020 | 3198 | 3198 | 2376 | 2376 | 1554 | 1554 | 1554 | 1554 | 1554 | 1554
Gas | 9763.497 | 9582.697 | 9404.297 | 9404.297 | 9404.297 | 9273.297 | 7130.172 | 6549.522 | 6537.822 | 5904.172 | 5904.172 | 4720.366 | 2298.266 | 1239.566 | 920.566 | 482.566 | 479.966 | 396.916 | 163.1
Hydroelectric | 8785.746 | 8783.246 | 8783.246 | 8775.366 | 8775.366 | 8774.866 | 8774.866 | 8774.866 | 8761.366 | 8761.366 | 8755.217 | 8726.267 | 7744.767 | 7652.289 | 7644.671 | 7621.736 | 7612.998 | 7611.348 | 7605.9
Biomass | 560.022 | 560.022 | 407.022 | 369.022 | 369.022 | 364.022 | 316.022 | 111.022 | 108.522 | 106.922 | 82.623 | 78.744 | 78.644 | 58.972 | 43.608 | 34.718 | 26.427 | 4.13 | 3.13
Solar | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2280.0193 | 2269.8543 | 2250.5809 | 2085.3653 | 1851.6107 | 1618.4602 | 1058.7351 | 392.9881 | 140.644
Wind | 4787.7798 | 4787.7798 | 4787.7798 | 4787.7798 | 4785.9798 | 4785.9798 | 4785.9798 | 4785.9798 | 4785.9798 | 4390.8798 | 4306.7698 | 4006.5048 | 3599.3048 | 3359.99 | 2817.88 | 2734.08 | 2275.58 | 690.2 | 0
Demand Response | 847.11 | 69.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64 | 33.64
Total | 39190.8141 | 38229.5541 | 37829.0041 | 36080.1241 | 35197.3241 | 35060.8241 | 30177.6991 | 29392.0491 | 26527.3491 | 24674.9991 | 24560.4411 | 22211.3761 | 18381.2027 | 15983.8223 | 14865.9757 | 14079.2002 | 13041.3461 | 10683.2221 | 9500.414

## Installed MW of Committed
Year End Installed Capacity of Committed Supply (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 0 | 0 | 0 | 881 | 881 | 881 | 1762 | 3465 | 3465 | 5127 | 5127 | 5900 | 6722 | 6722 | 7544 | 7544 | 8366 | 8366 | 8366
Gas | 317.509 | 1217.509 | 1217.509 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785 | 1298.785
Hydroelectric | 77.13 | 128.224 | 173.499 | 174.861 | 175.811 | 211.112 | 211.112 | 226.0949 | 226.0949 | 226.0949 | 226.0949 | 226.0949 | 218.1949 | 214.0679 | 213.3729 | 213.3729 | 213.2129 | 213.2129 | 206.6379
Biomass | 3.8233 | 4.6733 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583 | 6.4583
Solar | 154.8081 | 305.8643 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 498.1216 | 497.6966
Wind | 371.6925 | 671.6925 | 673.8175 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 928.3925 | 920.3925 | 920.3925 | 841.9925
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 924.9629 | 2344.7131 | 2586.1554 | 3804.3684 | 3805.3184 | 3840.6194 | 4721.6194 | 6439.6023 | 6439.6023 | 8101.6023 | 8101.6023 | 8857.8523 | 9671.9523 | 9667.8253 | 10489.1303 | 10489.1303 | 11302.9703 | 11302.9703 | 11217.5703

## Installed MW of Directed
Year End Installed Capacity of Directed Supply (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 50 | 50 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 50 | 50 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200

## Installed MW of Expired
Year End Installed Capacity of Expired Contracts (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas | 140 | 140 | 196.4 | 196.4 | 196.4 | 327.4 | 2427.725 | 3008.375 | 3020.075 | 3653.725 | 3653.725 | 4837.531 | 7259.631 | 8318.331 | 8637.331 | 9075.331 | 9077.931 | 9160.981 | 9394.797
Hydroelectric | 0 | 2.5 | 2.5 | 10.38 | 10.38 | 10.88 | 10.88 | 10.88 | 24.38 | 24.38 | 30.529 | 59.479 | 1048.879 | 1145.484 | 1153.797 | 1176.732 | 1185.63 | 1187.28 | 1199.303
Biomass | 32 | 32 | 185 | 223 | 223 | 228 | 276 | 481 | 483.5 | 485.1 | 509.399 | 513.278 | 513.378 | 533.05 | 548.414 | 557.304 | 565.595 | 587.892 | 556.892
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.165 | 29.2355 | 193.6826 | 427.4192 | 660.5598 | 1219.285 | 1886.022 | 2138.7696
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395.1 | 477.61 | 777.875 | 1185.075 | 1424.388 | 1966.498 | 2050.298 | 2516.798 | 4102.178 | 4870.778
Demand Response | 0 | 777.96 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11
Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75
Total | 172 | 952.46 | 1231.01 | 1276.89 | 1276.89 | 1413.39 | 3561.715 | 4347.365 | 4375.065 | 5405.415 | 5518.373 | 7062.188 | 10900.0585 | 12478.7956 | 13597.3192 | 14384.0848 | 15429.099 | 17788.213 | 19024.3996

## MW at Summer by Commitment
Capacity Contribution of Resources at Summer Peak, by Commitment Type (MW)
Commitment | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing Supply | 29059.4815 | 28538.9108 | 28328.3099 | 26437.7687 | 25557.0244 | 25472.1555 | 20626.8905 | 20412.9155 | 17044.3995 | 15672.0903 | 15624.0632 | 14778.7981 | 11717.5081 | 9783.8595 | 8914.0598 | 8225.9759 | 8038.0939 | 7636.2986 | 7238.7583
Refurbished Nuclear | 0 | 0 | 0 | 878.0046 | 878.0046 | 878.0046 | 1756.0092 | 2574.7211 | 3452.7257 | 5084.3953 | 5084.3953 | 5851.2113 | 6669.9233 | 6669.9233 | 7487.8133 | 7487.8133 | 8306.5253 | 8306.5253 | 8306.5253
Committed, Not Yet In-Service | 101.4033 | 610.5117 | 1421.4387 | 1579.5622 | 1580.3049 | 1605.2372 | 2105.2733 | 1614.592 | 1615.8707 | 1615.8707 | 1615.8707 | 1599.1207 | 1596.2915 | 1590.614 | 1590.1225 | 1590.1225 | 1590.1225 | 1589.4973 | 1584.3258
Directed Procurements | 17.3795 | 17.3795 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103 | 67.103
Expired Contracts | 142.9 | 798.281 | 1041.4782 | 1235.3074 | 1238.0518 | 1322.8054 | 3467.8054 | 4207.7804 | 4221.9804 | 4773.0777 | 4820.9032 | 4865.0283 | 7929.1475 | 9088.4716 | 10007.8463 | 10613.9825 | 10838.9508 | 11253.8669 | 11631.1917
Total Resources Available at Summer Peak | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041

## MW at Summer by Fuel
Capacity Contribution of Resources at Summer Peak, by Fuel Type (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12060.967 | 12060.967 | 12060.967 | 11242.2596 | 10364.2596 | 10364.2596 | 8580.5991 | 9399.3111 | 7446.4997 | 8259.4573 | 8259.4573 | 8208.3833 | 9027.0953 | 8208.3833 | 9026.2733 | 9026.2733 | 9844.9853 | 9844.9853 | 9844.9853
Gas | 8234.6986 | 8656.5854 | 9428.1879 | 9509.4639 | 9509.4639 | 9509.4638 | 9470.8638 | 9996.8638 | 9470.8638 | 9470.8639 | 9470.8639 | 9470.8639 | 9470.8638 | 9470.8638 | 9525.1638 | 9470.8638 | 9470.8638 | 9470.8638 | 9495.7638
Hydroelectric | 6232.739 | 6307.1059 | 6311.6164 | 6340.0937 | 6340.8363 | 6365.7687 | 6365.8047 | 6375.1234 | 6376.4022 | 6376.4022 | 6376.4022 | 6376.4022 | 6376.4022 | 6376.4729 | 6377.6753 | 6376.579 | 6377.3358 | 6376.4022 | 6376.9397
Biomass | 594.1453 | 596.6953 | 596.6953 | 598.441 | 598.441 | 598.441 | 598.441 | 598.441 | 600.941 | 598.441 | 598.441 | 598.441 | 598.441 | 609.939 | 611.441 | 599.438 | 598.441 | 598.441 | 598.441
Solar | 810.973 | 877.6192 | 962.1592 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 982.423 | 1009.565 | 1001.644 | 987.0955 | 1008.6351 | 997.1036 | 984.3358
Wind | 579.3288 | 634.8442 | 634.8442 | 661.2048 | 661.2048 | 661.0896 | 661.0896 | 661.0896 | 661.0896 | 661.0896 | 660.888 | 660.888 | 660.888 | 660.8874 | 660.8874 | 660.8874 | 676.6744 | 701.6352 | 663.5784
Demand Response | 808.3126 | 814.5161 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11
Storage | 0 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75
Firm Import 1 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Resources Available at Summer Peak | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041
Note:
1 Firm imports includes 500 MW of capacity in the summer from Quebec to Ontario in return for delivery of 500 MW to Quebec in the winter of 2015/2016 as part of the 2016 Amended and Restated Capacity Sharing Agreement.

## Total Capacity Reqt
Total Capacity Requirement
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Summer Peak Demand (MW) | 24082.5815 | 24040.8592 | 23992.9277 | 23916.2377 | 23890.0725 | 23886.5628 | 23901.3708 | 23887.513 | 23949.6579 | 23930.9702 | 23987.6721 | 24035.7109 | 24155.955 | 24242.5644 | 24332.1915 | 24410.6185 | 24649.5413 | 24889.2068 | 25151.8307
Reserve Margin | 17.81% | 21.34% | 20.52% | 23.45% | 23.19% | 23.72% | 22.67% | 20.4% | 21.66% | 22.32% | 22.03% | 22.44% | 22.27% | 22.17% | 23.44% | 22.55% | 23.77% | 18.54% | 18.31%
Reserve Requirement (MW) | 4290.016 | 5130.947 | 4922.9695 | 5609.0755 | 5538.9834 | 5665.3103 | 5418.7779 | 4873.1664 | 5186.9889 | 5341.1341 | 5284.2306 | 5393.3678 | 5379.3356 | 5375.2243 | 5702.5706 | 5504.6959 | 5859.0715 | 4614.1245 | 4606.4268
Total Capacity Requirement (MW) | 28372.5975 | 29171.8062 | 28915.8972 | 29525.3133 | 29429.0559 | 29551.873 | 29320.1487 | 28760.6794 | 29136.6467 | 29272.1043 | 29271.9027 | 29429.0787 | 29535.2906 | 29617.7887 | 30034.7622 | 29915.3144 | 30508.6128 | 29503.3313 | 29758.2574
Note
This is consistent with the "Demand Outlook" shown in Figure 8 of the 2017 LTEP

## Capacity Above Below Reqt
Capacity Above or Below Requirement (MW)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Total Resoures Available at Summer Peak | 29321.1643 | 29965.083 | 30858.3298 | 30197.7459 | 29320.4886 | 29345.3057 | 28023.0814 | 28877.112 | 26402.0794 | 27212.537 | 27212.3354 | 27161.2614 | 27979.9733 | 27199.9714 | 28066.9448 | 27984.9971 | 28840.7954 | 28853.2911 | 28827.9041
Total Capacity Requirement | 28372.5975 | 29171.8062 | 28915.8972 | 29525.3133 | 29429.0559 | 29551.873 | 29320.1487 | 28760.6794 | 29136.6467 | 29272.1043 | 29271.9027 | 29429.0787 | 29535.2906 | 29617.7887 | 30034.7622 | 29915.3144 | 30508.6128 | 29503.3313 | 29758.2574
Capacity Above or Below Requirement | 948.5668 | 793.2768 | 1942.4327 | 672.4327 | -108.5673 | -206.5673 | -1297.0673 | 116.4327 | -2734.5673 | -2059.5673 | -2059.5673 | -2267.8173 | -1555.3173 | -2417.8173 | -1967.8173 | -1930.3173 | -1667.8173 | -650.0402 | -930.3534

## Energy by Fuel
Energy Production by Fuel Type (TWh)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 86.3778 | 83.4892 | 86.1741 | 81.3551 | 75.4884 | 72.6869 | 62.888 | 74.0866 | 57.0446 | 59.9359 | 62.7736 | 66.8766 | 67.8404 | 69.8342 | 65.5023 | 72.4311 | 73.9533 | 75.1836 | 75.4078
Gas | 10.4164 | 10.894 | 11.3909 | 12.1009 | 13.7618 | 14.7877 | 19.5893 | 15.6921 | 20.9919 | 18.517 | 18.4191 | 16.8545 | 18.0934 | 17.8655 | 19.5861 | 18.2288 | 19.1611 | 20.6265 | 22.1158
Hydroelectric | 37.0303 | 37.2724 | 37.3097 | 37.5223 | 37.4192 | 37.4896 | 37.505 | 37.656 | 37.5663 | 37.5663 | 37.56 | 37.6514 | 37.5157 | 37.5278 | 37.5332 | 37.6414 | 37.5335 | 37.534 | 37.5329
Biomass | 1.4654 | 1.4662 | 1.493 | 1.5071 | 1.4831 | 1.4876 | 1.4847 | 1.4916 | 1.4956 | 1.4778 | 1.4907 | 1.4808 | 1.4938 | 1.4869 | 1.4959 | 1.4908 | 1.4926 | 1.4756 | 1.4713
Solar | 3.202 | 3.434 | 3.771 | 3.9506 | 3.9458 | 3.9458 | 3.9458 | 3.9506 | 3.9458 | 3.9458 | 3.9458 | 3.9506 | 3.9457 | 3.9455 | 3.9486 | 3.9545 | 3.9577 | 3.9875 | 3.9927
Wind | 13.4642 | 14.3557 | 14.486 | 15.0179 | 15.0948 | 15.0925 | 15.0925 | 15.169 | 15.0925 | 15.0949 | 15.0897 | 15.1668 | 15.0909 | 15.0518 | 15.0972 | 15.1667 | 15.0903 | 15.0444 | 15.1144
Storage (Generating) | 0.013182 | 0.036665 | 0.037904 | 0.035514 | 0.034461 | 0.034419 | 0.033831 | 0.034336 | 0.034611 | 0.03418 | 0.034135 | 0.03246 | 0.032664 | 0.033603 | 0.033581 | 0.033543 | 0.033155 | 0.032919 | 0.033576
Ontario Supply Production | 151.9692 | 150.9481 | 154.6625 | 151.4894 | 147.2275 | 145.5245 | 140.539 | 148.0803 | 136.1713 | 136.5718 | 139.3131 | 142.0132 | 144.0124 | 145.7454 | 143.1969 | 148.947 | 151.2216 | 153.8844 | 155.6684
Imports 1 | 9.2798 | 9.3276 | 7.6553 | 8.8998 | 9.5647 | 10.2016 | 11.0609 | 7.8347 | 13.5594 | 13.4886 | 11.2886 | 10.1988 | 9.16 | 8.2871 | 10.2283 | 7.8613 | 7.6328 | 7.1839 | 6.8605
Ontario Supply Production and Imports | 161.249 | 160.2758 | 162.3178 | 160.3893 | 156.7922 | 155.7261 | 151.5999 | 155.9149 | 149.7307 | 150.0604 | 150.6016 | 152.2121 | 153.1724 | 154.0325 | 153.4252 | 156.8083 | 158.8545 | 161.0684 | 162.5289
Exports 1 | 18.2292 | 17.4531 | 19.9087 | 18.0032 | 14.8775 | 13.8769 | 9.7809 | 13.7552 | 7.6228 | 8.0188 | 8.0602 | 8.7461 | 9.0159 | 8.9257 | 7.3818 | 9.4696 | 10.0526 | 10.3776 | 9.8238
Ontario Net Demand | 143.0198 | 142.8227 | 142.4091 | 142.3861 | 141.9147 | 141.8492 | 141.819 | 142.1598 | 142.1079 | 142.0416 | 142.5414 | 143.466 | 144.1565 | 145.1068 | 146.0434 | 147.3386 | 148.8019 | 150.6907 | 152.7051
Notes:
1 Imports and exports reflect those that take place due to economic opportunities that exist in the real time energy market and from Quebec per the 2016 Energy Sales and Energy Cycling Agreement.

## Storage
Energy Storage Phase I and II (TWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Storage (Generating) | 0.013181 | 0.036665 | 0.037903 | 0.035515 | 0.03446 | 0.03442 | 0.033829 | 0.034337 | 0.034612 | 0.03418 | 0.034135 | 0.032461 | 0.032668 | 0.033603 | 0.033582 | 0.033546 | 0.033157 | 0.032924 | 0.033578
Storage (Withdrawal) | 0.017721 | 0.04912 | 0.050767 | 0.047533 | 0.04626 | 0.04604 | 0.045251 | 0.045942 | 0.046112 | 0.04573 | 0.045815 | 0.043422 | 0.043647 | 0.044873 | 0.044678 | 0.045049 | 0.044247 | 0.043987 | 0.04479

## Energy Import Export
Energy Imports and Exports (TWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Exports | 18.2292 | 17.4531 | 19.9087 | 18.0032 | 14.8775 | 13.8769 | 9.7809 | 13.7552 | 7.6228 | 8.0188 | 8.0602 | 8.7461 | 9.0159 | 8.9257 | 7.3818 | 9.4696 | 10.0526 | 10.3776 | 9.8238
Imports | 9.2798 | 9.3276 | 7.6553 | 8.8998 | 9.5647 | 10.2016 | 11.0609 | 7.8347 | 13.5594 | 13.4886 | 11.2886 | 10.1988 | 9.16 | 8.2871 | 10.2283 | 7.8613 | 7.6328 | 7.1839 | 6.8605
Net Exports | 8.9494 | 8.1254 | 12.2534 | 9.1034 | 5.3128 | 3.6753 | -1.28 | 5.9205 | -5.9366 | -5.4698 | -3.2283 | -1.4528 | -0.14411 | 0.63858 | -2.8465 | 1.6083 | 2.4197 | 3.1937 | 2.9634
Notes:
Imports and exports reflect those that take place due to economic opportunities that exist in the real time energy market and from Quebec per the 2016 Energy Sales and Energy Cycling Agreement.

## SBG
Surplus Baseload Generation (TWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Surplus Baseload Generation | 6.5273 | 5.2347 | 7.4393 | 6.2606 | 3.0087 | 2.0147 | 0.58484 | 2.9805 | 0.29527 | 0.58216 | 0.58591 | 0.92637 | 0.89664 | 0.75846 | 0.40316 | 0.71227 | 0.85686 | 1.0863 | 0.68406