## 1
Annual Net Summer and Winter Peak Demand Forecast (MW)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Net Summer Peak | 24082.5815 | 24040.8592 | 23992.9277 | 23916.2377 | 23890.0725 | 23886.5628 | 23901.3708 | 23887.513 | 23949.6579 | 23930.9702 | 23987.6721 | 24035.7109 | 24155.955 | 24242.5644 | 24332.1915 | 24410.6185 | 24649.5413 | 24889.2068 | 25151.8307
Net Winter Peak | 22143.2008 | 22071.7735 | 21985.4548 | 21898.1005 | 21843.1725 | 21806.6361 | 21793.6282 | 21746.6687 | 21763.3422 | 21728.64 | 21768.6582 | 21808.8132 | 21925.8933 | 22023.0994 | 22128.2213 | 22217.5383 | 22453.0504 | 22687.5282 | 22936.6545
Note:
Demand is at the generator level
Annual Net Electricity Demand Forecast (TWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Net Energy Demand | 142.8851 | 142.6589 | 142.2435 | 142.2235 | 141.7537 | 141.6886 | 141.6599 | 141.9996 | 141.9484 | 141.884 | 142.3834 | 143.3098 | 143.9998 | 144.9484 | 145.8851 | 147.1794 | 148.6427 | 150.5306 | 152.5428
Note:
Demand is at the generator level
Source: 2017 LTEP Modules

## 2
Sector | 2017 LTEP
Residential | 51 TWh in 2035
Commercial | 54 TWh in 2035
Industrial | 35 TWh in 2035
Electric Vehicles | 2.4 million EVs by 2035 (8 TWh in 2035)
Transit | Planned projects, 2017-2035 (1 TWh in 2035)
Other * | 5 TWh
Total ** | 148 TWh in 2035
* Others = Agriculture, Remote Communities, Generator Demand, IEI, and Street Lighting
** At Generator Level. Total may not add up due to rounding
Source: 2017 OPO Outlook Modules B (all sectors) and D (electric vehicles only)

## 3
Year End Installed Capacity by Fuel Type (MW)
Fuel | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12133 | 12133 | 12133 | 11311 | 10430 | 10430 | 8619 | 10322 | 7485 | 8325 | 8325 | 8276 | 9098 | 8276 | 9098 | 9098 | 9920 | 9920 | 9920
Gas | 10221.006 | 10940.206 | 10818.206 | 10899.482 | 10899.482 | 10899.482 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682 | 10856.682
Hydroelectric | 8862.876 | 8913.97 | 8959.245 | 8960.607 | 8961.557 | 8996.858 | 8996.858 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409 | 9011.8409
Biomass | 595.8453 | 596.6953 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 598.4803 | 566.4803
Solar | 2484.8275 | 2635.8836 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2978.1409 | 2977.9379 | 2977.1694 | 2977.1515 | 2977.1416 | 2976.1416 | 2977.1316 | 2977.1102
Wind | 5159.4723 | 5459.4723 | 5461.5973 | 5716.1723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5714.3723 | 5712.7723 | 5712.7723 | 5712.7723 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705 | 5712.7705
Demand Response | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11 | 847.11
Storage | 33.64 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39
Total | 40337.7771 | 41576.7272 | 41846.1695 | 41361.3825 | 40479.5325 | 40514.8335 | 38661.0335 | 40379.0164 | 37542.0164 | 38382.0164 | 38380.4164 | 38331.4164 | 39153.2134 | 38330.4432 | 39152.4253 | 39152.4154 | 39973.4154 | 39974.4054 | 39942.384
Note:
Demand Response includes Peaksaver, CBDR, DR Pilot and DR Auction.
Source: 2017 LTEP Modules

## 4
Residential Monthly Bill Assuming 750 KWh Per Month Usage (reflects Ontario's Fair Hydro Plan) (Nominal $/Month)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Distribution | 37.1451 | 38.7219 | 39.3041 | 40.0908 | 40.8932 | 41.7116 | 42.5463 | 43.3977 | 44.2662 | 45.1519 | 46.0554 | 46.9769 | 47.9169 | 48.8756 | 49.8536 | 50.851 | 51.8684 | 52.9062 | 53.9646
Line Losses | 2.9217 | 2.9864 | 3.0984 | 3.1795 | 3.1258 | 3.1882 | 3.2429 | 3.3899 | 3.4202 | 3.5237 | 3.5975 | 3.6282 | 3.6048 | 3.5931 | 3.5038 | 3.5243 | 3.4571 | 3.3205 | 3.2238
Transmission | 13.6946 | 14.426 | 14.7569 | 15.7462 | 16.2087 | 16.5455 | 16.8851 | 17.6714 | 18.029 | 18.3958 | 18.6957 | 18.9444 | 19.2287 | 19.4831 | 19.7436 | 19.9698 | 21.0361 | 21.1916 | 21.3325
Regulated Charges (Wholesale Market Service Costs) | 4.0225 | 3.648 | 3.7892 | 3.8848 | 3.9308 | 4.0157 | 4.1057 | 4.2158 | 4.2978 | 4.3935 | 4.4742 | 4.5274 | 4.5616 | 4.5984 | 4.6034 | 4.6499 | 4.6556 | 4.6239 | 4.4912
DRC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Commodity (excludes line losses) | 63.1684 | 57.3605 | 58.0991 | 59.0034 | 61.5558 | 69.777 | 77.9818 | 87.5156 | 92.844 | 96.1542 | 99.5582 | 103.0661 | 106.5928 | 110.1165 | 108.0099 | 108.624 | 106.6018 | 103.6721 | 100.7973
Residential Bill Before Taxes | 120.9524 | 117.1429 | 119.0476 | 121.9048 | 125.7143 | 135.2381 | 144.7619 | 156.1905 | 162.8571 | 167.619 | 172.381 | 177.1429 | 181.9048 | 186.6667 | 185.7143 | 187.619 | 187.619 | 185.7143 | 183.8095
8% Rebate | -9.6762 | -9.3714 | -9.5238 | -9.7524 | -10.0571 | -10.819 | -11.581 | -12.4952 | -13.0286 | -13.4095 | -13.7905 | -14.1714 | -14.5524 | -14.9333 | -14.8571 | -15.0095 | -15.0095 | -14.8571 | -14.7048
HST | 15.7238 | 15.2286 | 15.4762 | 15.8476 | 16.3429 | 17.581 | 18.819 | 20.3048 | 21.1714 | 21.7905 | 22.4095 | 23.0286 | 23.6476 | 24.2667 | 24.1429 | 24.3905 | 24.3905 | 24.1429 | 23.8952
Total Residential Bill After Taxes | 127 | 123 | 125 | 128 | 132 | 142 | 152 | 164 | 171 | 176 | 181 | 186 | 191 | 196 | 195 | 197 | 197 | 195 | 193
Note:
All values represent average monthly bills for each calendar year
The Ontario Energy Board determined rates effective July 1, 2017 under Ontario’s Fair Hydro Plan that resulted in a monthly bill of $121 for a typical residential consumer
8% Rebate refers to the Ontario Rebate for Electricity Consumers, which commenced on January 1, 2017, as defined in O.Reg 363/16
Direct Connect Class A Customer Rate (assuming the Average GA Class A Rate) (Nominal $/MWh)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Electricity (via HOEP Market Clearing Price) | 26.3578 | 28.0772 | 26.6597 | 31.4309 | 36.4882 | 40.3516 | 48.3091 | 44.3183 | 53.4073 | 49.2252 | 50.1146 | 50.7248 | 52.8171 | 56.9071 | 62.1429 | 64.2937 | 69.3886 | 74.1764 | 82.3724
Electricity (via GA Class A Rate) | 36.1871 | 36.4798 | 38.954 | 38.149 | 35.0006 | 34.2933 | 31.6259 | 35.8291 | 32.2536 | 35.8278 | 36.6422 | 36.8727 | 35.5508 | 33.525 | 29.7124 | 29.0845 | 25.6976 | 21.3074 | 16.0461
Total | 83 | 80 | 79 | 84 | 86 | 90 | 95 | 96 | 102 | 101 | 103 | 104 | 105 | 107 | 109 | 111 | 113 | 114 | 116
Notes:
Industrial rated are illustrative for a customer directly connected to the transmission system
Specific Class A GA unit rates are based on a customers usage during the 5 highest peak periods from the prior year
Class A GA unit rate is the average unit rate for all of Class A
In addition to the electricity component, the total rate includes transmission, regulatory charges and DRC
Source: 2017 LTEP Modules

## 5
Total Cost for Electricity Service (Billions $2017)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Generation 1 | 13.3033 | 13.2748 | 13.5577 | 13.6938 | 13.3243 | 13.3618 | 13.4303 | 13.7225 | 13.6933 | 13.7533 | 13.8149 | 13.7534 | 13.4898 | 13.3056 | 12.8871 | 12.8391 | 12.5412 | 12.0617 | 11.7389
Conservation 2 | 0.5608 | 0.60925 | 0.47767 | 0.49705 | 0.4027 | 0.4027 | 0.4027 | 0.4027 | 0.4027 | 0.3927 | 0.3927 | 0.3927 | 0.3927 | 0.3927 | 0.3927 | 0.3927 | 0.3927 | 0.3927 | 0.3927
Transmission | 1.5894 | 1.6389 | 1.6389 | 1.7142 | 1.7242 | 1.7248 | 1.7253 | 1.7745 | 1.7742 | 1.774 | 1.7738 | 1.7736 | 1.7734 | 1.7733 | 1.7731 | 1.7739 | 1.7752 | 1.7765 | 1.7776
Distribution | 3.7712 | 3.8288 | 3.8852 | 3.9408 | 3.9937 | 4.0414 | 4.0858 | 4.1276 | 4.1676 | 4.2061 | 4.2438 | 4.2814 | 4.3185 | 4.3548 | 4.3917 | 4.4269 | 4.4607 | 4.4926 | 4.5224
Wholesale | 0.78945 | 0.67161 | 0.68389 | 0.68734 | 0.67951 | 0.68027 | 0.68176 | 0.68802 | 0.68738 | 0.6886 | 0.68995 | 0.68889 | 0.68371 | 0.68012 | 0.67173 | 0.67111 | 0.66524 | 0.65587 | 0.63265
Debt Retirement Charge | 0.62144 | 0.61005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Cost for Electricity Service | 20.6356 | 20.6334 | 20.2433 | 20.5332 | 20.1244 | 20.211 | 20.3259 | 20.7153 | 20.7251 | 20.8147 | 20.9151 | 20.89 | 20.6582 | 20.5065 | 20.1163 | 20.1037 | 19.8351 | 19.3793 | 19.0643
Notes:
1 Generation costs include Industrial Electricity Incentive program costs
2 Conservation costs include Energy Efficiency delivery cost and Aboriginal, Community, and Municipal Funds
Tax-Funded or Deferred Costs (Billions Nominal $)
| 2017 | 2018 | 2019 | 2020
Ontario Electricity Support Program (OESP) | 0.10335 | 0.20635 | 0.2553 | 0.282
Rural or Remote Rate Protection (RRRP) | 0.258 | 0.26502 | 0.2396 | 0.24087
Distribution Rate Protection (DRP) |  | 0.17498 | 0.2414 | 0.25288
On-Reserve First Nations Delivery Credit (FNDC) | 0.01125 | 0.01845 | 0.0199 | 0.02
Ontario Rebate for Electricity Consumers (OREC) | 0.66225 | 0.86575 | 0.86075 | 0.8685
Deferred Costs Related to the Refinancing of Global Adjustment | 1.3962 | 2.189 | 2.2956 | 2.4135
Total | 2.4311 | 3.7196 | 3.9125 | 4.0778
Source: 2017 LTEP Modules, Ministry of Energy

## 6
6. The Ontario Planning Outlook, Module 7, slides 13 and 14 indicate the cost assumptions for re-contracting of existing resources, and slides 31-33, 40, and 49 provide additional cost assumptions regarding contracting of new resources (31-33) and transmission (40, 49). Do the LTEP price outlooks for residential and industrial consumers (figures 5 and 6 of the LTEP) use the same set of resource cost assumptions? If there are any differences, please indicate.
Please see IESO response.

## 7
Residential Monthly Bill Assuming 750 KWh Per Month Usage (prior to Ontario Fair Hydro Plan) (Nominal $/Month)
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Distribution | 37.1451 | 38.7219 | 39.3041 | 40.0908 | 40.8932 | 41.7116 | 42.5463 | 43.3977 | 44.2662 | 45.1519 | 46.0554 | 46.9769 | 47.9169 | 48.8756 | 49.8536 | 50.851 | 51.8684 | 52.9062 | 53.9646
Line Losses | 2.9217 | 2.9864 | 3.0984 | 3.1795 | 3.1258 | 3.1882 | 3.2429 | 3.3899 | 3.4202 | 3.5237 | 3.5975 | 3.6282 | 3.6048 | 3.5931 | 3.5038 | 3.5243 | 3.4571 | 3.3205 | 3.2238
Transmission | 13.6946 | 14.426 | 14.7569 | 15.7462 | 16.2087 | 16.5455 | 16.8851 | 17.6714 | 18.029 | 18.3958 | 18.6957 | 18.9444 | 19.2287 | 19.4831 | 19.7436 | 19.9698 | 21.0361 | 21.1916 | 21.3325
Regulated Charges (Wholesale Uplift and DRC) | 4.0225 | 3.648 | 3.7892 | 3.8848 | 3.9308 | 4.0157 | 4.1057 | 4.2158 | 4.2978 | 4.3935 | 4.4742 | 4.5274 | 4.5616 | 4.5984 | 4.6034 | 4.6499 | 4.6556 | 4.6239 | 4.4912
DRC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Commodity (excludes line losses) | 77.7049 | 79.4263 | 82.4031 | 84.5617 | 83.1342 | 84.7921 | 86.2476 | 90.1563 | 90.9627 | 93.7144 | 95.6781 | 96.494 | 95.8721 | 95.56 | 93.1867 | 93.7308 | 91.9443 | 88.3111 | 85.7404
Residential Bill Before Taxes | 135.4889 | 139.2086 | 143.3517 | 147.4631 | 147.2927 | 150.2532 | 153.0277 | 158.8312 | 160.9758 | 165.1792 | 168.5009 | 170.5708 | 171.1841 | 172.1102 | 170.8911 | 172.7258 | 172.9616 | 170.3533 | 168.7527
HST | 17.6136 | 18.0971 | 18.6357 | 19.1702 | 19.1481 | 19.5329 | 19.8936 | 20.6481 | 20.9269 | 21.4733 | 21.9051 | 22.1742 | 22.2539 | 22.3743 | 22.2158 | 22.4544 | 22.485 | 22.1459 | 21.9378
Total Residential Bill After Taxes | 153.1024 | 157.3057 | 161.9874 | 166.6333 | 166.4408 | 169.7861 | 172.9213 | 179.4792 | 181.9027 | 186.6525 | 190.406 | 192.745 | 193.438 | 194.4845 | 193.1069 | 195.1802 | 195.4466 | 192.4992 | 190.6905
Note:
Residential Monthly Bill prior to Ontario Fair Hydro Plan (OFHP)
2017 Residential Bill is a forecast
Source: 2017 LTEP Modules

## 8
Greenhouse Gas Emissions
Historical Emissions | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
GHG (megatonnes CO2 equivalent) | 32.3 | 27.6 | 30.4 | 25.3 | 14.2 | 18.6 | 13.8 | 13.9 | 10.1 | 6 | 6.2 | 6
Forecast Emissions | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
GHG Reference Case (megatonnes CO2 equivalent) | 3.9 | 4 | 4.3 | 4.5 | 5.2 | 5.6 | 7.4 | 5.9 | 7.9 | 7 | 6.9 | 6.4 | 6.9 | 6.8 | 7.4 | 7 | 7.3 | 7.9 | 8.5
Low GHG Outlook (megatonnes CO2 equivalent) | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 2.9 | 3.9 | 3.4 | 3.4 | 3.1 | 3.3 | 3.3 | 3.7 | 3.4 | 3.6 | 4 | 4
Source - GHG Emissions: 2005-2015 data referenced from 2017 National Inventory Report (Environment and Climate Change Canada). 2016 estimate by IESO. 2017-2035 forecast by IESO.
Emissions are from domestic electricity generation in Ontario (import emissions are accounted for in the jurisdiction where they were emitted).
Source: 2017 LTEP Modules

## 9
The Fuels Technical Report (FTR), p.42 – Figure 38, contains the projected carbon emissions from Ontario’s fuel sector based on a number of potential outlooks as described in the report. Numerical data supporting Figure 38 is presented on pp. 74 and 75 of the FTR. 2017 LTEP notes the government’s plan to decarbonize the fuels sector consistent with the provincial target of reducing GHG emissions by 37 per cent from 1990 levels in 2030 (2017 LTEP, p.42). In addition, all proceeds from the cap and trade program will be used to fund actions to reduce GHG emissions, such as supporting Ontarians in shifting away from fossil fuels and investing in emerging clean technologies (2017 LTEP, p.42). The Ministry of the Environment and Climate Change is responsible for tracking the Province’s overall progress towards these emission targets and managing the allocation of cap and trade proceeds to climate change initiatives.